## Best Practice details
rendered_entity
Zero Drop Mornos: Recovery and Recirculation of Filter Backwash Water at Tanagra Water Treatment Plant Presentation of the Best Practice Target challengeصعوبة الوصول إلى المياهالتلوث البيئيالتوجه نحو صفر تصريف على المستوى المحليانخفاض استدامة نظام المعالجةالضعف تجاه تغير المناخأخرى (يرجى التحديد أدناه)Significant water losses that occur at the water treatment plant. / Urban water supply network is struggling to meet demand.Area Typologyمنطقة حضريةMain beneficiariesمرافق المياه السكان المحليون البلديات أصحاب المنازل أخرى (يرجى التحديد أدناه) IndustriesImpact on the beneficiaries of your Best Practice: Within the framework of the Programme, GWP-Med places particular emphasis on social impact. In addition to increasing water availability for the local community and enabling the water treatment plant (WTP) to achieve zero-discharge operation, GWP-Med collaborated with the Mediterranean Education Initiative on Environment and Sustainability (MEdIES) to implement educational activities for school students and teachers. A total of 235 students participated in hands-on, interactive learning activities, including the Water Magnetic Board and the Snakes and Ladders educational game, designed to raise awareness of water resources and sustainable water management. Teachers, in collaboration with the Centre for Environmental Education (CEE) of Thiva, Boeotia, also took part in capacity-building events focused on strengthening water resources education and environmental awareness.Fundingتمويل خاص Used technologies / toolsDesinfection processChlorinationPhysical processSedimentationScreeningFlocculation-coagulationFiltrationDewateringSand filters for the primary filtration of suspended solids.Carbon filters to remove organic compounds, improving water taste and odor.Pumps to convey water through the filtration systemsStorage tanks for filtered, backwash, and intermediate flow stabilization.Pipe flocculation unit to aggregate fine particles into larger clumps using added chemicals.Chemical dosing systems for adding and mixing flocculants.Sedimentation tank to separate flocculated particles, reducing suspended solids and turbidity.Polishing sand filter to perform the final filtration step on the recovered backwash water.Recycling system piping treated backwash water back into the raw water tank.Distribution network to transport the final treated water to the municipality.Implementation site TanagraNCW typeالمياه المالحة قليلة التركيز (م.م.ق)NCW USEأخرى (يرجى التحديد أدناه) Self-Assessment TRL : Technology LevelsTRL9Description of the innovative component: The innovative component is the retreatment of filter backwash water and its recirculation through the Water Treatment process at the WTP of Tanagra Municipality. The recirculation / retreatment system which has been installed has the capacity to recirculate 100% the filter backwash water which is being produced. The finally treated backwash water is forwarded to the raw water tank and after the treatment process by the existing equipment of the Water Treatment Plant the clean water is distributed to the Municipality Through this retreatment process the WTP increases its efficiency by 7 – 10 % and achieves near Zero-Liquid Discharge. Obstacles to implementationعدم كفاية أدوات التمويل لدعم الحلول الخاصة بالمياه غير التقليديةالتكلفة العالية للحلول التكنولوجيةنقص في تدريب المتخصصين لتبني الممارسات الفضلى ضمن مهامهمObstacles to fundingThe funding comes from the private sector. The difficulty was to establish the engagement and prove that such solutions can be effective. Social acceptance Social impact of the BP لحفاظ على بيئة المعيشةدعم النظم البيئية الطبيعية Jobs created comment: NA Economic viability How your Best Practice is economically feasible ? Environmental sustainability Result of this assessment NA Enviromental impact SDGsEnergy consumption commentNAValidation/upscalingThe commissioning date of the technical solution at the WTP in Schimatari was in 17 of October 2025. Read more Potentiel of exploitation/outscalingThis Best Practice is a scaled-up intervention of a previous GWP-Med project (2023) which also took place in Tanagra Municipality in another WTP and will be replicated in the remaining two WTP of the… Read more Lessons learntThis Best Practice constitutes a model case of successful investment in optimization of water assets, to prolong their lifespan, increase their capacity, and yield multiple benefits towards… Read more Read more Highlighted KPI Technical indicators Average Treated flow rate 1100.00 m3/Day Suspended solids SS158400 g/Day Economical indicators Average total Cost 363.64 euro/m3 terated/day Without consideration of the depreciation period Average benefit of reuse 0 euro/Day Land footprint 0.06 m2/m3/day Social indicators 99.30 More Informationshttps://www.coca-cola.com/gr/el/sustainability/this-is-happening/zero-drophttps://gwpo-gwp.org/mediterranean/news/sustainable-water-management-project-completed-in-the-municipality-of-tanagra-greece/ContactSend mail View inventory form responses Download Share Everywhere Print
ZERO DROP MISSION WATER : “Treated Wastewater Reuse for Irrigation at Spyros Kyprianos Park, Aglantzia, Cyprus Presentation of the Best Practice Target challengeالمياه الجوفية المستغلة بشكل مفرطتدهور النظام البيئي (ضغط مائي)الضعف تجاه تغير المناخأخرى (يرجى التحديد أدناه)Insufficient water for urban irrigation Area Typologyمنطقة حضريةنظام بيئي طبيعي أخرى (يرجى التحديد أدناه)Green Areas or ParksMain beneficiariesمرافق المياه السكان المحليون البلديات أخرى (يرجى التحديد أدناه) Park users, Municipality of Aglantzia (responsible for the operation and maintenance of the system)Impact on the beneficiaries of your Best Practice: The benefit for the beneficiaries is that the use of treated wastewater to irrigate the park and other green spaces saves a total of 4,000,000 litres of water per year, allowing this volume to be allocated to other non-potable or potable uses. Moreover, there was a social component of this best practice which was the implementation of educational activities for children, having a significant positive impact on youth along with their teachers, by raising their awareness on water isuues. A dedicated event for the students on water conservation took place at the Park. Fundingتمويل خاص Used technologies / toolsChlorinationFiltrationOne plastic tank of 20,000 liters volume to collect the treated wastewater.Flow switches for automatic refill of the tankTwo filters (gravel and mesh) to remove solids from treated wastewater to prevent tank sedimentationA dosing system for treated wastewater chlorination, using a sensor to avoid over-chlorination One multi-valve system to distribute the treated wastewater to the irrigation system of the parkPiping to refill trucks with treated wastewater to irrigate other parks off the networkSubmersible pump to distribute treated wastewater for park irrigation or refilling water trucksA control panel for the operation of the systemDrip irrigation piping system to enhance the irrigation of the parkImplementation site CyprusNCW typeمياه الصرف الصحي البلدية (م.ص.ب)NCW USEالنظام البيئيتنسيق الحدائقأخرى (يرجى التحديد أدناه) Self-Assessment TRL : Technology LevelsTRL9Description of the innovative component: This Best Practice has an innovative technical component which is the integration of treated wastewater into an urban park irrigation network in order to replace the groundwater which was being used until recently for irrigating the parks and other close by green spaces which are not connected to the Municipality’s water distribution system. The treated wastewater is stored in a water tank, from which the Municipality also can withdraw water to irrigate other green spaces. The Best Practice also relies on a municipal management arrangement and cooperation between public and private partners, dedicated financing, operational integration into the management of municipal green spaces, as well as awareness-raising activities through dedicated educational activities. Obstacles to implementationنقص في نشر قصص النجاح المتعلقة بالمياه غير التقليدية (NCW)عدم كفاية أدوات التمويل لدعم الحلول الخاصة بالمياه غير التقليديةنقص في قبول الجمهور لإعادة استخدام المياهنقص في تدريب المتخصصين لتبني الممارسات الفضلى ضمن مهامهمObstacles to fundingNo difficulties were encountered. This was part of GWP-Med Technical Solution agenda access to funding and long-standing partnership with The Coca Cola Foundation. Social acceptance Social impact of the BP لحفاظ على بيئة المعيشةدعم النظم البيئية الطبيعية Economic viability How your Best Practice is economically feasible ? The Municipality pays for the maintenance of the system (signed MoU). The costs are acquired though the Municipal taxes and a cost saving between using treated wastewater and fresh water is observed Environmental sustainability Result of this assessment No sustainability assessment has been carried out in this project. The use of the treated wastewater was supported by evidence from previous related projects implemented in Cyprus (e.g use of treated wastewater in other parks Park of Academia) Enviromental impact SDGsValidation/upscalingThe best practice has been validated by the water utilities of Nicosia but not been upscaled yet due to lack of public funding. (More urgent priorities for Municipalities) Read more Potentiel of exploitation/outscalingThere is potential for replication and upscaling considering the easy access to the treated wastewater and the secondary uses (demand) that are present in Cyprus. Public funding needs to be allocated… Read more Lessons learntThe key lesson learned from this best practice is that using treated wastewater for park irrigation can save significant amounts of clean drinking water. This approach is particularly valuable in… Read more Read more Highlighted KPI Technical indicators Average Treated flow rate 25.00 m3/Day Average Reused flow rate100 m3/Day Salinity19.75 g/Day Suspended solids SS550 g/Day COD1375 g/Day Economical indicators Average total Cost 2488.00 euro/m3 terated/day Without consideration of the depreciation period Average O&M cost 2.40 euro/m3 terated/day Average benefit of reuse 11.5 euro/Day Land footprint 1.00 m2/m3/day Social indicators More Informationshttps://www.youtube.com/watch?v=2Q5H_uwd0eI&source_ve_path=NzY3NTg&embeds_referring_euri=https%3A//gwpo-gwp.org/ContactSend mail View inventory form responses Download Share Everywhere Print
Multilayer blue-green roof (Polder Roof technology) Presentation of the Best Practice Target challengeالتلوث البيئيتدهور النظام البيئي (ضغط مائي)الضعف تجاه تغير المناخأخرى (يرجى التحديد أدناه)Green area degradationArea Typologyمنطقة حضرية أخرى (يرجى التحديد أدناه)Dense UrbanMain beneficiariesالسكان المحليون البلديات أخرى (يرجى التحديد أدناه) University community, including staff, students, attendees, etc.Impact on the beneficiaries of your Best Practice: The Polder Roof provides multiple benefits to its beneficiaries by combining urban flood mitigation, climate adaptation, and environmental co-benefits. By temporarily storing and regulating rainwater during intense precipitation events, the system significantly contributes to urban flood risk reduction, particularly during extreme rainfall (IOR95 = 0.38). This controlled retention and delayed release of stormwater reduces peak runoff entering the drainage network, helping cities become more resilient to climate-induced extreme events. Beyond flood mitigation, the Polder Roof enhances the quality of life for building users and the surrounding community. The vegetated roof improves urban aesthetics and biodiversity, creating green space in dense urban environments while supporting ecological functions. In addition, vegetation and substrate contribute to air quality improvement and help mitigate the urban heat island effect through evapotranspiration processes. The system also delivers energy benefits for the building by increasing latent heat flux and evaporative cooling, which can reduce indoor temperatures and potentially lower energy demand for cooling. Overall, the Polder Roof installed at the University of Cagliari demonstrates how innovative green infrastructure can simultaneously address stormwater management, climate resilience, environmental quality, and energy efficiency, generating tangible benefits for both urban residents and local ecosystems. Fundingتمويل الاتحاد الأوروبيتمويل وطني Used technologies / toolsNature based processSoil infiltrationSustainable Drainage SystemsPhysical processSedimentationEvaporationMBGR, Multilayer Blue – Green roofCAM, Acid metabolismHOBO, ThermometersCS650, Moisture sensorHIKVISION, Thermal cameraOPTRIS, PyrometerImplementation site CagliariNCW typeمياه الأمطار (م.أ)NCW USEري الحدائق Self-Assessment TRL : Technology LevelsTRL7Description of the innovative component: The PolderRoof system represents an innovative approach that integrates water management, ecology, and architecture, transforming a conventional roof into a multifunctional blue-green infrastructure. The innovation lies in the concept of a controlled-storage green roof, where a vegetated layer is combined with a regulated water storage system. The first Mediterranean prototype exemplifies this approach by integrating a green roof layer consisting of 8 cm of sandy soil planted with drought-resistant CAM cacti with a 10 cm controllable storage layer. This storage layer is equipped with a remote-controlled gate, which allows operators to regulate the amount of water retained or released from the roof. This capability is crucial for dynamically managing the available storage capacity, optimizing stormwater retention before rainfall events and enabling runoff capture, reuse, and improved hydrological performance. Beyond stormwater management, the system simultaneously supports building insulation, urban biodiversity, and climate adaptation benefits, demonstrating how roof surfaces can be transformed into multifunctional urban infrastructure. Another innovative component of the prototype is the advanced environmental monitoring system installed on the roof. This system includes four HOBO temperature sensors, soil moisture sensors (CS650 connected to a Drill Drop datalogger), thermal cameras, a pyrometer, and a Baro-Diver pressure sensor. These instruments allow continuous monitoring of thermal performance, soil moisture dynamics, and hydrological behaviour, providing high-resolution data to evaluate the roof’s performance under Mediterranean climate conditions and during extreme rainfall events. Together, the controlled storage technology and integrated monitoring platform make the PolderRoof prototype a cutting-edge example of blue-green infrastructure, advancing research and practical implementation of climate-resilient urban water management systems. Obstacles to implementationالتكلفة العالية للحلول التكنولوجيةObstacles to fundingInstalled as part of an EU project (no initial cost), but it requires funding for maintenance and upgrade. Social acceptance Social impact of the BP التماسك الاجتماعيلحفاظ على بيئة المعيشةتحسين ظروف الصحة 4 Jobs created Jobs created comment: 3-4 researcher positions during several projects Economic viability How your Best Practice is economically feasible ? Although the PolderRoof system has relatively high initial construction costs, it remains economically feasible thanks to the multiple benefits it provides over its lifetime. A key factor is the selection of drought-resistant CAM vegetation, which can survive with minimal water input. Combined with the controllable storage layer, this vegetation strategy allows plants to persist without intensive maintenance, effectively eliminating most long-term vegetation management costs. As a result, the system requires very limited operation and maintenance (O&M) compared with many conventional green roof solutions. Operational costs are further reduced thanks to the automated control gate and minimal irrigation needs, which allow the roof to regulate stormwater storage and release without continuous manual intervention. At the same time, the system provides significant hydrological value by retaining and delaying stormwater runoff, thereby contributing to urban flood mitigation and reducing pressure on drainage infrastructure. In addition, the presence of integrated filtration and storage capacity enables the reuse of retained rainwater for irrigation and other non-potable uses, generating water savings and further improving the economic performance of the system. Overall, the combination of low maintenance requirements, water reuse opportunities, and the ecosystem services provided by stormwater retention helps offset the initial capital expenditure, making the PolderRoof a cost-effective solution over its operational lifetime. Environmental sustainability Result of this assessment No sustainability assessment has been carried out Enviromental impact SDGsEnergy consumption KWh/m30.00Energy consumption commentTo open &close the gate: 0.00025 kWh If the storage layer is full : 0.00020 kWh/m3 Validation/upscalingYes, the Best Practice has been validated through field monitoring and modelling, although it has not yet been physically upscaled and currently remains at the prototype stage. The performance… Read more Potentiel of exploitation/outscalingYes, there is strong potential for both replication and upscaling. The PolderRoof system developed by MetroPolder Company and tested at the University of Cagliari is based on modular and adaptable… Read more Lessons learntThe intensive CAM green roof at the University of Cagliari has provided several valuable lessons from its design, implementation, and long-term monitoring. The spontaneous CAM vegetation (Agave… Read more RecommandationsTo promote the wider adoption of green roofs, policy measures should combine financial incentives, public engagement, and regulatory integration. Providing subsidies, grants, or tax incentives,… Read more Highlighted KPI Technical indicators Average Treated flow rate 1.50 m3/Day Suspended solids SS0 g/Day COD0 g/Day Economical indicators Land footprint 10.67 m2/m3/day Social indicators More Informationshttps://solutions.wavin.com/en-gb/smart-blue-green-roofshttps://www.research.unipd.it/retrieve/29c46f11-15d3-4ede-81ce-6ecfefa04309/Cristiano_et_al_2022.pdfhttps://www.sciencedirect.com/science/article/pii/S2405844023091740ContactSend mail View inventory form responses Download Share Everywhere Print
CAM Green roof Presentation of the Best Practice Target challengeالتلوث البيئيالتوجه نحو صفر تصريف على المستوى المحليالضعف تجاه تغير المناخArea Typologyمنطقة حضرية أخرى (يرجى التحديد أدناه)Dense UrbanMain beneficiariesالسكان المحليون البلديات أخرى (يرجى التحديد أدناه) University community, including staff, students, attendees, etcImpact on the beneficiaries of your Best Practice: The intensive CAM green roof at the University of Cagliari delivers multiple benefits to its beneficiaries by integrating stormwater management, ecological, and energy-related functions. • Urban flood risk reduction: The system significantly mitigates peak runoff during extreme rainfall events, with an Index of Retention for extreme events (IOR95) of 0.38, contributing to resilient urban drainage systems. • Enhanced urban resilience: By retaining and slowly releasing rainwater, the roof reduces pressure on the drainage network, supporting cities in adapting to climate variability and extreme weather. • Improved quality of life: The vegetated roof enhances urban aesthetics, supports biodiversity, and contributes to air quality improvement, creating a more pleasant and healthier environment for building users and the surrounding community. • Energy savings: Through latent heat flux and evaporative cooling, the roof helps regulate indoor temperatures, potentially reducing energy demand for air conditioning. Overall, the system provides hydrological, ecological, and energy-related co-benefits, demonstrating how a low-maintenance green roof can simultaneously improve urban sustainability, resilience, and quality of life. Fundingتمويل وطني Used technologies / toolsNature based processSoil infiltrationSustainable Drainage SystemsEvaporationOthersKalyx-RG rain gauge (UM-780-700 by Environmental Measurements Limited - EML);EHSM: Ecohydrological Streamflow Model;CAM: Crassulacean Acid Metabolism.Implementation site CagliariNCW typeمياه الأمطار (م.أ)NCW USEري الحدائق Self-Assessment TRL : Technology LevelsTRL9Description of the innovative component: Yes, the Best Practice includes an innovative component. The innovation of the intensive CAM green roof at the University of Cagliari lies in its scientific validation and monitoring of hydrological performance in a Mediterranean context. Specifically, this green roof represents the first rigorous assessment of the flood-mitigation capacity of spontaneous CAM vegetation (Agave americana), addressing a research gap on how CAM compare with conventional C3 vegetation in terms of rainwater retention and runoff reduction. In addition, the system is equipped with continuous high-resolution monitoring, recording rainfall at 0.2 mm resolution and outflow every 5 minutes, providing detailed quantitative data on hydrological performance. This monitoring was implemented on a zero-maintenance, self-sustaining system, demonstrating that CAM vegetation can deliver long-term retention benefits without irrigation or ongoing maintenance. Finally, the roof serves as a benchmark for future blue-green infrastructure, such as the CAM Polder Roof prototype with integrated water tanks, linking ecological sustainability with stormwater. Obstacles to implementationأخرى (يرجى التحديد أدناه)Cagliari's green roof faced no major obstacles. Built in 1980 with CAM vegetation, its stable structure allowed a smooth 2016 retrofit with monitoring sensors, presenting no construction, maintenance, or operational barriers .Obstacles to fundingHighly competitive funding calls. Social acceptance Social impact of the BP لحفاظ على بيئة المعيشةتحسين ظروف الصحةدعم النظم البيئية الطبيعية 4 Jobs created Jobs created comment: 3-4 researcher positions during several projects Economic viability How your Best Practice is economically feasible ? The intensive CAM green roof at the University of Cagliari is economically feasible due to its minimal operational costs and low retrofit investment. Key factors include: Zero maintenance costs: The spontaneous CAM vegetation (Agave americana) is drought-resistant and self-sustaining, requiring no irrigation or routine care. In contrast, an equivalent green roof planted with conventional C3 species would need approximately 72 m³ of water per year, corresponding to a savings of around €108/year at a water cost of €1.5/m³. Low retrofit costs: The only significant investment for system enhancement was the installation of hydrological monitoring sensors in 2016, without major structural modifications. The monitoring system relies on scientific projects. Environmental sustainability Result of this assessment No sustainability assessment was undertaken. Enviromental impact SDGsEnergy consumption commentNo energy consumedValidation/upscalingFor the intensive CAM green roof at the University of Cagliari, the Best Practice has been validated but not physically upscaled. The roof’s hydrological performance has been confirmed through… Read more Potentiel of exploitation/outscalingYes, the intensive CAM green roof at the University of Cagliari has strong potential for replication and upscaling. Its modular and simple design, based on a 30 cm sandy soil layer and low-… Read more Lessons learntThe intensive CAM green roof at the University of Cagliari has provided several valuable lessons from its design, implementation, and long-term monitoring. The spontaneous CAM vegetation (Agave… Read more RecommandationsTo promote the wider adoption of green roofs, policy measures should combine financial incentives, public engagement, and regulatory integration. Providing subsidies, grants, or tax incentives,… Read more Highlighted KPI Technical indicators Average Treated flow rate 0.20 m3/Day Economical indicators Average total Cost 0.00 euro/m3 terated/day Without consideration of the depreciation period Land footprint 480.00 m2/m3/day Social indicators More Informationshttps://doi.org/10.1016/j.buildenv.2020.107179https://doi.org/10.1016/j.ufug.2024.128211ContactSend mail View inventory form responses Download Share Everywhere Print
Rainwater Collection Network and Agricultural Reuse Reservoir in La Paca (Region of Murcia). Presentation of the Best Practice Target challengeصعوبة الوصول إلى المياهالتلوث البيئيالمياه الجوفية المستغلة بشكل مفرطتدهور النظام البيئي (ضغط مائي)الضعف تجاه تغير المناخأخرى (يرجى التحديد أدناه)This practice tackles water scarcity and uncontrolled runoff. Intercepting stormwater prevents downstream pollution. Storing and reusing rainwater for irrigation reduces runoff volume, limits erosion, and improves environmental quality .Area Typologyمنطقة حضريةمنطقة زراعية أخرى (يرجى التحديد أدناه)Peri-Urban area, La Paca collects urban stormwater into perimeter reservoirs. This water is reused for irrigation by the Campo Alto Irrigators' Community, functionally integrating urban drainage with peri-urban agriculture.Main beneficiariesمرافق المياه السكان المحليون البلديات السلطات الإدارية أخرى (يرجى التحديد أدناه) Direct beneficiaries include Lorca Municipality, local residents, and Campo Alto's 307 irrigators managing 950 hectares. The system directly boosts agricultural water security, indirectly supporting local rural families' livelihoods.Impact on the beneficiaries of your Best Practice: The system directly benefits 307 irrigators managing 435 ha of agricultural land. By providing approximately 50,000 m³/year of complementary water resources from harvested stormwater, the Best Practice increases water availability, improves agricultural resilience during dry periods and reduces dependence on scarce conventional resources. Together with subsequent investments in reclaimed-water reuse, storage infrastructure and renewable-energy solutions, the initiative contributes to maintaining agricultural activity, supporting rural employment, improving farm profitability and reducing the risk of rural depopulation in a semi-arid area with limited water availability. Fundingتمويل الاتحاد الأوروبيتمويل وطني Used technologies / toolsPhysical processSedimentationFiltrationOthersstormwater inlets;transfer pipelines; drainage system;sedimentation and regulation ponds;irrigation-distribution infrastructure;Implementation site La Paca, Lorca, Region of MurciaNCW typeمياه الأمطار (م.أ)NCW USEالري الزراعيأخرى (يرجى التحديد أدناه) Self-Assessment TRL : Technology LevelsTRL9Description of the innovative component: The innovation lies in the integrated management of multiple non-conventional water resources within a water-scarce rural environment. The Best Practice combines urban stormwater harvesting, agricultural reuse and integration with existing irrigation infrastructure to create a reliable complementary water source for irrigated agriculture. The approach forms part of a wider strategy that combines stormwater harvesting, reclaimed-water reuse, renewable-energy-powered pumping and storage infrastructure. This integrated model improves water security, reduces dependence on saline groundwater, lowers energy consumption, contributes to climate-change adaptation and supports the long-term viability of rural communities. Its added value lies not in a single technology, but in the coordinated management of alternative water resources to increase resilience, maintain agricultural activity and help reduce the risk of rural depopulation Obstacles to implementationنقص في نشر قصص النجاح المتعلقة بالمياه غير التقليدية (NCW)أخرى (يرجى التحديد أدناه)Water scarcity and salinity threaten farming viability, risking land abandonment and rural depopulation. This practice improves water security, supporting livelihoods and climate resilience through urban stormwater harvesting and reuse.Obstacles to fundingFunding applications required demonstrating that stormwater harvesting could simultaneously contribute to water security, climate-change adaptation, agricultural competitiveness and rural-development objectives in a small water-scarce rural community. The challenge consisted mainly of justifying the long-term environmental and socio-economic benefits of the proposed infrastructure. Social acceptance Social impact of the BP لحفاظ على بيئة المعيشةتحسين ظروف الصحةدعم النظم البيئية الطبيعيةأخرى (يرجى التحديد أدناه) Strengthening rural community resilience through improved water security 17 Jobs created Jobs created comment: Approximately 10–15 temporary jobs during construction, with 1–2 jobs indirectly maintained through annual inspection and maintenance. Agricultural water security may also help preserve local farming employment. Economic viability How your Best Practice is economically feasible ? The Best Practice is economically feasible because it uses existing stormwater collection infrastructure to capture rainwater at very low operational cost. The collected runoff is conveyed to the agricultural reservoir of La Paca, providing farmers with an additional water source without the need for energy intensive treatment processes. The initial investment was financed through public regional and municipal funds, and the operation and maintenance costs are minimal and covered by the municipality and the local irrigation community. By reducing dependence on groundwater and external water supplies, the system lowers irrigation costs and increases long term water security for the agricultural sector. Environmental sustainability Result of this assessment No formal sustainability assessment has been carried out. Qualitative evidence suggests that the system contributes to additional irrigation-water availability, reduced stormwater runoff, improved drought resilience and reduced pressure on groundwater resources. However, no quantified assessment of environmental, social or economic impacts is currently available. Enviromental impact SDGsEnergy consumption commentNA. Site-specific monitoring data are not availableValidation/upscalingThe system has been operating since the implementation of the original stormwater-harvesting scheme and was subsequently expanded to increase collection capacity. Operational information indicates… Read more Potentiel of exploitation/outscalingReplication is feasible in rural and peri-urban areas where sufficient stormwater runoff can be collected, storage capacity is available or can be developed, agricultural demand exists in proximity… Read more Lessons learntIntegrating stormwater collection with agricultural reuse can be effective in water-scarce settlements. Close coordination among the municipality, regional water authorities and irrigators’ community… Read more RecommandationsPromote adaptation of existing stormwater networks where hydrology, storage and agricultural demand are suitable. Undertake catchment and water-quality assessment; define water rights and operating… Read more Highlighted KPI Technical indicators Average Treated flow rate 1.00 m3/Day Economical indicators Average total Cost 76100.00 euro/m3 terated/day Without consideration of the depreciation period Land footprint 240000.00 m2/m3/day Social indicators More Informationshttps://www.chsegura.es/es/https://www.murcia.com/region/noticias/2021/12/23-la-comunidad-amplia-el-sistema-de-captacion-de-pluviales-para-su-reutilizacion-por-la-comunidad-de-regantes-campo-alto-de-lorca.asphttps://www.laopiniondemurcia.es/municipios/2023/08/21/campo-alto-comunidad-regantes-comprometida-91119653.htmlContactSend mail View inventory form responses Download Share Everywhere Print
Urban Rainwater Management through SUDS at Hacienda Park & Ride, Murcia Presentation of the Best Practice Target challengeالتلوث البيئيتدهور النظام البيئي (ضغط مائي)الضعف تجاه تغير المناخأخرى (يرجى التحديد أدناه)Extreme rain risks urban flooding and drainage overload. This practice attenuates runoff through temporary storage and controlled discharge, feeding the Murcia Este system to indirectly boost water for agricultural irrigation .Area Typologyمنطقة حضرية أخرى (يرجى التحديد أدناه)Dense UrbanMain beneficiariesمرافق المياه السكان المحليون البلديات السلطات الإدارية أخرى (يرجى التحديد أدناه) Extreme rain risks urban flooding and drainage overload. This practice attenuates runoff through temporary storage and controlled discharge, feeding the Murcia Este system to indirectly boost water for agricultural irrigation. Impact on the beneficiaries of your Best Practice: The Best Practice benefits users of the 404-space Park & Ride facility through increased accessibility and reduced flood risk during rainfall events. The Municipality of Murcia benefits from improved urban resilience and reduced pressure on the drainage network. Additional benefits extend to downstream irrigation users because the collected stormwater ultimately reaches the Murcia Este reclamation system, contributing to reclaimed-water resources used in agriculture in a region affected by structural water scarcity.Fundingتمويل وطني Used technologies / toolsNature based processSoil infiltrationSustainable Drainage SystemsOthersSUDS (Sustainable Urban Drainage System) PLC (Programmable Logic Controller) PP (Permeable Pavement) Implementation site MurciaNCW typeمياه الأمطار (م.أ)NCW USEتنسيق الحدائقمنطقة ترفيهيةأخرى (يرجى التحديد أدناه) Self-Assessment TRL : Technology LevelsTRL8Description of the innovative component: The innovative aspect is the integration of sustainable stormwater management and urban mobility within Murcia’s largest Park & Ride facility. Unlike conventional parking developments, the project combines a permeable pavement system, 5,451 m² of subsurface gravel storage and infiltration infrastructure, regulated discharge through a vortex-controlled outlet, urban greening and smart monitoring within a single operational facility with 404 parking spaces. The system provides up to 1.4 million litres of temporary storage and regulates discharge from 230 to 4 l/s, enabling recovery within approximately 48 hours. The collected stormwater is ultimately conveyed to the Murcia Este reclamation system, contributing indirectly to water reuse for agricultural irrigation in a region affected by structural water scarcity. The innovation therefore lies in simultaneously addressing sustainable mobility, flood-risk reduction and water-resource management. Its novelty lies not in the individual SUDS components, which are already known technologies, but in their integration within Murcia’s largest municipal Park & Ride facility, combining sustainable mobility, flood-risk reduction and indirect support to reclaimed-water production within a single urban infrastructure. Obstacles to implementationالتكلفة العالية للحلول التكنولوجيةأخرى (يرجى التحديد أدناه)Coordination with multiple underground utility networks during design and construction.; • Additional implementation costs compared with conventional stormwater drainage solutionsObstacles to fundingNo significant difficulties in accessing funding were reported. The main challenge was demonstrating the long-term environmental and resilience benefits of the SUDS approach compared with conventional drainage solutions during project planning and approval Social acceptance Social impact of the BP لحفاظ على بيئة المعيشةتحسين ظروف الصحةدعم النظم البيئية الطبيعية 28 Jobs created Jobs created comment: Approximately 20–25 temporary construction jobs and 2–3 indirect annual maintenance jobs Economic viability How your Best Practice is economically feasible ? The project was implemented as public urban infrastructure financed by Murcia City Council. Financial feasibility is supported by the integration of stormwater management, climate adaptation and sustainable mobility objectives within a single municipal investment. Although no formal cost-benefit analysis was identified in the reviewed documentation, the project justification is based on flood-risk reduction, improved urban resilience, groundwater recharge and environmental co-benefits associated with green infrastructure. Environmental sustainability Result of this assessment No formal sustainability assessment report was identified in the available documentation. However, project documentation indicates expected benefits including stormwater infiltration, flood mitigation, groundwater recharge, reduced runoff, urban greening, support for climate adaptation and mitigation of urban heat-island effects through the integration of 152 trees and 936 shrubs. These should be considered expected project outcomes rather than results of a formal sustainability assessment. Enviromental impact SDGsEnergy consumption commentsite-specific monitoring data not availableValidation/upscalingThe facility was inaugurated on 24 March 2026 and opened to the public on 25 March 2026. Following commissioning, rainfall events recorded at the end of March 2026 generated approximately 20 l/m² of… Read more Potentiel of exploitation/outscalingReplication is suitable for public parking facilities, transport interchanges and other large impervious urban areas. Key conditions include sufficient available space, favourable soil infiltration… Read more Lessons learntThe project demonstrates that sustainable drainage infrastructure can be successfully integrated within urban mobility facilities. Early coordination with utility operators is essential because… Read more RecommandationsReplication should be considered in urban mobility facilities, public parking areas and other large impervious surfaces where runoff generation is significant. Successful implementation requires… Read more Highlighted KPI Technical indicators Average Treated flow rate 1.00 m3/Day Economical indicators Average total Cost 549825.00 euro/m3 terated/day Without consideration of the depreciation period Land footprint 1064.00 m2/m3/day Social indicators More Informationshttps://urbamusa.com/comienzan-las-obras-del-mayor-disuasorio-de-la-red-aparcamurcia-que-combinara-movilidad-y-gestion-del-agua/https://aparcamurcia.com/aparcamurcia-hacienda-el-nuevo-aparcamiento-disuasorio-de-murcia/ContactSend mail View inventory form responses Download Share Everywhere Print
Recovery and Reuse of Vehicle Washing Water within the Scope of Sustainable and Circular Water Management Presentation of the Best Practice Target challengeالمياه الجوفية المستغلة بشكل مفرطالتوجه نحو صفر تصريف على المستوى المحليالضعف تجاه تغير المناخArea Typologyمنطقة حضرية أخرى (يرجى التحديد أدناه)Dense UrbanMain beneficiariesالبلديات Impact on the beneficiaries of your Best Practice: It provides approximately 30–40 tons of water savings per day in our municipality.Fundingتمويل وطني Used technologies / toolsPhysical processSedimentationFiltrationOthers• CT: Collection Tank;• ST: Sedimentation Tank;• pHAU: pH Adjustment Unit;• ACF: Activated Carbon Filter;Implementation site İzmirNCW typeالمياه الرمادية (م.ر)آخرNCW USEإعادة التدوير Self-Assessment TRL : Technology LevelsTRL9Description of the innovative component: • Combining activated carbon filtration with water recovery. • Creation of a closed-loop water cycle. Obstacles to implementationالتكلفة العالية للحلول التكنولوجيةObstacles to fundingThere are no difficulties in accessing funding Social acceptance Social impact of the BP أخرى (يرجى التحديد أدناه) awareness on water recycling and conservation 0 Jobs created Jobs created comment: These tasks are carried out by existing municipal staff. Economic viability How your Best Practice is economically feasible ? The financial feasibility of the system is based on the principle of treating and reusing wastewater generated from public transportation vehicles washing operations. By reusing the recovered water in washing operations, municipal water consumption is significantly reduced. This not only saves the money on water supply costs but also reduces wastewater discharge costs. Thanks to the high water recovery rate, the system recoups its investment and operating costs within a certain period, creating an economically sustainable structure. Environmental sustainability Result of this assessment The system was established in 2017. Since its installation, it has been used daily for washing buses. Periodic maintenance is carried out by municipal staff. It is a sustainable and trouble-free system. Enviromental impact تصريف الحمأة SDGsEnergy consumption KWh/m31.50Validation/upscalingSimilar applications have been implemented and are operational in other municipal bus washing garages in İnciraltı, Çiğli, and Torbalı. Read more Potentiel of exploitation/outscalingYes, there is potential and it is being implemented. Steps have been taken to establish similar systems in Urla and Adatepe bus washing garages. Read more Lessons learntThe simple design of the system has ensured its sustainability. Regular maintenance and filter replacement are required, the operational status of the system must be monitored, chemicals should be… Read more RecommandationsInstallation of similar systems integrated with rainwater and greywater is ongoing in other municipal bus garages. It is possible to further improve the system by supporting it with new technologies. Read more Highlighted KPI Technical indicators Average Treated flow rate 37.50 m3/Day Salinity11250 g/Day Suspended solids SS5250 g/Day COD3787.5 g/Day Economical indicators Average total Cost 0.75 euro/m3 terated/day Without consideration of the depreciation period Average O&M cost 53.33 euro/m3 terated/day Land footprint 2.67 m2/m3/day Social indicators 80.0040.000.0090.00 More Informationshttps://www.eshot.gov.tr/tr/Haberler/4136/91https://www.izmir.bel.tr/tr/Haberler/eshot-tan-bin-100-hanenin-kullandigi-kadar-su-tasarrufu/56684/156ContactSend mail View inventory form responses Download Share Everywhere Print
Sustainable Water Supply through Brackish Groundwater Desalination in Matrouh, Egypt Presentation of the Best Practice Target challengeصعوبة الوصول إلى المياهالمياه المخصصة للري وإنتاج الغذاء غير متوفرةأخرى (يرجى التحديد أدناه)Insufficient water for urban irrigation Area Typologyمنطقة حضريةمنطقة ريفية أخرى (يرجى التحديد أدناه)Peri-Urban areaMain beneficiariesمرافق المياه السكان المحليون Fundingتمويل وطني Used technologies / toolsSoil infiltrationSustainable Drainage SystemsReverse OsmosisFiltrationOthersRO – Reverse OsmosisSF – Sand Filter (if used)MMF – Multimedia Filter (if applicable)CF – Cartridge FilterHP Pump – High-Pressure PumpERD – Energy Recovery DeviceUV – Ultraviolet DisinfectionPV – Photovoltaic Solar SystemImplementation site Matrouh GovernorateNCW typeالمياه المالحة قليلة التركيز (م.م.ق)NCW USEري الحدائقالري الزراعيأخرى (يرجى التحديد أدناه) Self-Assessment TRL : Technology LevelsTRL9Description of the innovative component: Yes, this Best Practice includes an innovative component through the integration of reverse osmosis (RO) desalination of brackish groundwater with solar energy as a renewable power source. This combination reduces dependency on conventional electricity and enhances the sustainability and environmental performance of the system. The innovation lies in developing a decentralized, solar-powered desalination solution adapted to the arid conditions of Matrouh Governorate, where grid electricity may be limited or unreliable. The system enables the efficient use of locally available brackish groundwater to produce safe water for domestic and agricultural uses in remote communities. By combining renewable energy with water desalination technology, the approach offers a low-carbon, climate-resilient, and scalable solution to water scarcity. This model can be replicated in other off-grid and water-scarce regions with similar environmental conditions.Obstacles to implementationعدم كفاية أدوات التمويل لدعم الحلول الخاصة بالمياه غير التقليديةالتكلفة العالية للحلول التكنولوجيةObstacles to fundingThe implementation of brackish groundwater desalination systems may face several funding-related challenges, including the high initial investment costs associated with desalination equipment, installation, and infrastructure. Additional difficulties may arise from limited availability of dedicated funding programs for small-scale water projects in remote areas, as well as the need for long-term financial support for operation and maintenance. Securing sufficient resources to ensure system sustainability and capacity building can also be challenging. Social acceptance Social impact of the BP معالجة الهجرات (الوقاية من النزوح والهجرة) Economic viability How your Best Practice is economically feasible ? The financial feasibility of this Best Practice is ensured through the use of low operating-cost renewable energy, specifically solar power, which significantly reduces dependency on conventional electricity or fuel. Although the initial investment cost for installing solar desalination systems may be relatively high, the long-term operational and maintenance costs are minimal. This leads to a reduction in the cost per cubic meter of produced water over time. In addition, the system utilizes abundant solar radiation in arid regions such as Matrouh, maximizing resource efficiency and ensuring sustainable operation without recurring fuel expenses. Financial sustainability is further supported by the reduction of water transportation costs and the improved availability of safe irrigation and drinking water, which enhances agricultural productivity and livestock performance. Overall, the balance between moderate capital costs and very low operating costs ensures the economic viability and long-term affordability of solar-powered desalination systems. Environmental sustainability Result of this assessment A general sustainability assessment was carried out for the brackish groundwater solar desalination system in Matrouh. Environmentally, the system relies on solar energy, reducing carbon emissions and dependence on fossil fuels, with brine disposal identified as a key environmental challenge requiring careful management. Economically, the system shows high feasibility due to low operational and maintenance costs compared with conventional desalination methods, despite higher initial capital investment. Socially, it enhances local water supply reliability, supporting agricultural activities and improving livelihoods in rural communities. However, limitations include variability in solar energy availability and the need for periodic maintenance of membranes and system components, which may affect long-term performance. Enviromental impact SDGsValidation/upscalingYes. The desalination system has demonstrated its effectiveness in providing a reliable source of freshwater from brackish groundwater under the arid conditions of Matrouh Governorate. The results… Read more Potentiel of exploitation/outscalingYes, there is strong potential for replication and upscaling of this best practice. The desalination of brackish groundwater using reverse osmosis technology is a flexible and scalable solution that… Read more Lessons learntSeveral important lessons were learned during the design and implementation of the brackish groundwater desalination best practice in Matrouh. Early integration of site-specific hydrogeological… Read more RecommandationsTo improve the brackish groundwater desalination best practice in Matrouh, it is recommended to enhance system efficiency through optimized pre-treatment units and regular membrane maintenance to… Read more Highlighted KPI Technical indicators Average Treated flow rate 50.00 m3/Day Salinity75000 g/Day Economical indicators Average total Cost 103.94 euro/m3 terated/day Without consideration of the depreciation period Social indicators More Informationshttps://www.mwri.gov.eghttps://www.drc.gov.egContactSend mail View inventory form responses Download Share Everywhere Print
Rainwater Harvesting Presentation of the Best Practice Target challengeصعوبة الوصول إلى المياهالضعف تجاه تغير المناخمقاومة استخدام المياه غير التقليدية المعالجةأخرى (يرجى التحديد أدناه)Flash-flood hazard and infrastructure/property damage from unmanaged runoff events; seasonal and chronic water scarcity affecting domestic supply, livestock watering, and rain-fed agriculture; progressive depletion and localised salinisation of shallow coArea Typologyمنطقة حضريةمنطقة ريفيةمنطقة زراعية أخرى (يرجى التحديد أدناه)Rural, dryland, semi-arid coastal wadi catchments with dispersed Bedouin settlements; the peri-urban fringe of Marsa Matruh city; pastoral rangeland; rain-fed agricultural terraces on wadi floors and lower slopes.Main beneficiariesالسكان المحليون أخرى (يرجى التحديد أدناه) Rural Bedouin households across Matrouh Governorate relying on rain-fed agriculture, livestock, and shallow wells for domestic supply; the wider governorate population (538,546 according to the January 2023 CAPMAS census) is the indirect beneficiary groupImpact on the beneficiaries of your Best Practice: Qualitatively, improved local water availability from check dams and cisterns is understood to support continuity of rain-fed cultivation and livestock watering through dry periods, and to reduce dependence on costlier alternatives such as trucked water in the most remote settlements. Quantified, independently verifiable impact figures specific to this practice (for example, measured changes in crop yield, livestock survival, or household time savings) were not located in the public record at the time of writing; IFAD's PRIDE monitoring and evaluation reports would be the appropriate source to confirm such figures before they are quoted in a catalogue entry.Fundingتمويل الاتحاد الأوروبيتمويل وطني Used technologies / toolsSoil infiltrationSustainable Drainage SystemsSedimentationFiltrationERT: Electrical Resistivity Tomography ;Time-Domain Electromagnetic (TEM) /DEM;TDIP;HEC-HMS; RES2DINV; IX1D;ArcGIS;QGISImplementation site Marsa Matruh NCW typeمياه الأمطار (م.أ)آخرNCW USEري الحدائقالري الزراعيإعادة تغذية المياه الجوفيةأخرى (يرجى التحديد أدناه) Self-Assessment TRL : Technology LevelsTRL9Description of the innovative component: The innovation lies mainly in bringing systematic near-surface geophysics into a field practice that, for most of its history, relied on surface geomorphological judgement alone. Electrical Resistivity Tomography and Time-Domain Electromagnetic soundings, applied by the DRC Geophysical Exploration Department in wadi systems such as the Fuka Basin (Elshenawy, Journal of African Earth Sciences) and at Ras El Dabaa (Zarif et al., Environmental Earth Sciences, 2024), have shown that resistivity contrasts can distinguish dry vadose-zone limestone, clay-rich aquitards, and the sandier alluvial intervals that actually hold and transmit water. Feeding this information back into the siting of check dams and cisterns — rather than relying only on topography — is the practical innovation: it is incremental rather than radical, built on established geophysical methods, but it changes how confidently a given location can be expected to perform before any structure is built.Obstacles to implementationنقص في الإطار التنظيمي المناسبنقص في قبول الجمهور لإعادة استخدام المياهالتكلفة العالية للحلول التكنولوجيةأخرى (يرجى التحديد أدناه)Subsurface heterogeneity of the alluvial and fractured-carbonate wadi fill, which is difficult to characterise from surface geomorphology alone and historically required either expensive borehole programmes or accepting higher siting uncertainty; limited Obstacles to fundingNA Social acceptance Social impact of the BP معالجة الهجرات (الوقاية من النزوح والهجرة) التماسك الاجتماعيلحفاظ على بيئة المعيشةتحسين ظروف الصحةدعم النظم البيئية الطبيعية Jobs created comment: NA Economic viability How your Best Practice is economically feasible ? Financial continuity for this practice rests mainly on its integration within larger, externally financed rural development programmes rather than on cost recovery from water users. The original SDCMR infrastructure (from 1994) was capitalised through Government of Egypt and World Bank IDA co-financing of the broader SDCMR establishment programme; more recent expansion and rehabilitation is supported through the IFAD-PRIDE loan and grant (2019–ongoing). Harvested water is provided to communities without direct user charges, so the practice does not generate revenue to offset its own operating costs; its sustainability therefore depends on continued public and donor investment rather than on a self-financing tariff model. Environmental sustainability Result of this assessment Enviromental impact SDGsEnergy consumption commentThis gravity-fed system requires zero pumping energy for normal operation. Local cistern distribution pumps are unmetered (NA). Qualitatively, the energy footprint is very low compared to groundwater pumping or desalination alternatives. Validation/upscalingYes. SDCMR has operated continuously since 1994, and its published institutional figures report several thousand water-harvesting and storage structures (check dams, cisterns, and reservoirs) across… Read more Potentiel of exploitation/outscalingExcellent replication potential across the entire semi-arid Mediterranean dryland zone. Key factors supporting replication: (i) the geophysics-guided design protocol is technology-agnostic and can be… Read more Lessons learntThe clearest lesson from this long-running practice is that the value of subsurface investigation became apparent only gradually: for most of SDCMR's history, check dams and cisterns were sited… Read more RecommandationsFor practitioners considering similar interventions elsewhere in the Mediterranean: (1) where budget allows, commission at least basic ERT or TEM survey lines before finalising structure locations,… Read more Highlighted KPI Technical indicators Average Treated flow rate 1.00 m3/Day Economical indicators Average total Cost 13500000.00 euro/m3 terated/day Without consideration of the depreciation period Average O&M cost 757628.00 euro/m3 terated/day Social indicators More Informationshttps://sdcmr.gov.eg/en/home/https://www.salam-med.org/https://www.ifad.org/en/web/operations/-/project/2000001280ContactSend mail View inventory form responses Download Share Everywhere Print
Waterose : the reuse of treated wastewater in agriculture Presentation of the Best Practice Target challengeصعوبة الوصول إلى المياهالمياه المخصصة للري وإنتاج الغذاء غير متوفرةالتلوث البيئيالمياه غير التقليدية غير مقدرة محلياًإغلاق دورة المياه والمغذياتاختيار أفضل لمعايير تنفيذ أنظمة المياه غير التقليديةقرارات غير مناسبة من صانعي القرارسلوك المستخدم غير ملائمالضعف تجاه تغير المناخمقاومة استخدام المياه غير التقليدية المعالجةArea Typologyمنطقة زراعيةMain beneficiariesالمزارعون Fundingتمويل خاص Implementation site Ariana NCW typeمياه الصرف الصحي البلدية (م.ص.ب)آخرNCW USEأخرى (يرجى التحديد أدناه) Self-Assessment TRL : Technology LevelsTRL7Description of the innovative component: Our best practice provides and facilitates access to treated wastewater, which will contribute to the development of research aimed at improving the quality of this water. As a result, we can expand its usage in agricultureObstacles to implementationعدم كفاية أدوات التمويل لدعم الحلول الخاصة بالمياه غير التقليديةنقص في قبول الجمهور لإعادة استخدام المياه Social acceptance Social impact of the BP لحفاظ على بيئة المعيشةدعم النظم البيئية الطبيعية Economic viability How your Best Practice is economically feasible ? Environmental sustainability Result of this assessment Enviromental impact SDGsValidation/upscalingYes Read more Potentiel of exploitation/outscalingYes Read more Read more Read more Highlighted KPI Technical indicators Average Treated flow rate 200.00 m3/Day Economical indicators Social indicators More Informationshttps://www.facebook.com/Waterose.inat?locale=fr_FRContactSend mail View inventory form responses Download Share Everywhere Print
Living Green Wall for circular water Presentation of the Best Practice Target challengeالمياه غير التقليدية غير مقدرة محلياًالتوجه نحو صفر تصريف على المستوى المحليإغلاق دورة المياه والمغذياتانخفاض استدامة نظام المعالجةظروف التشغيل غير محسّنةاستراتيجية غير ملائمةالضعف تجاه تغير المناخمقاومة استخدام المياه غير التقليدية المعالجةArea Typologyمنطقة حضريةMain beneficiariesمرافق المياه السكان المحليون البلديات المزارعون أصحاب المنازل السلطات الإدارية Impact on the beneficiaries of your Best Practice: Development of sustainable solution (LGW) with multi-effects and functions, ready to be adopted by stakeholders and decisionmakers. Water available at the local level for multiuse. Implementation of edible community garden for students thanks to the treated greywater and collected rainwater.Fundingتمويل الاتحاد الأوروبيتمويل وطني Used technologies / toolsDesinfection processUVNature based processLiving wallDegreaserLiving Green WallPretreatmentDesinfection Olla trickle irrigation systemImplementation site TunisNCW typeمياه الأمطار (م.أ)المياه الرمادية (م.ر)NCW USEتنظيف المراحيضري الحدائق Self-Assessment TRL : Technology LevelsTRL7Description of the innovative component: The main innovation components are (1) the application of the constructed wetland design in vertical walls to tackle the low availability of area at urban context. (2) To optimise the interaction plant/substrates/greywater to reach the target quality of treated grey water function of the reuse. Obstacles to implementationنقص في الإطار التنظيمي المناسبنقص في نشر قصص النجاح المتعلقة بالمياه غير التقليدية (NCW)عدم كفاية أدوات التمويل لدعم الحلول الخاصة بالمياه غير التقليديةنقص في قبول الجمهور لإعادة استخدام المياهنقص في تدريب المتخصصين لتبني الممارسات الفضلى ضمن مهامهمأخرى (يرجى التحديد أدناه)The NCW is not considered as ressource in the national governance system.Obstacles to fundingHigh competition among very interesting projects and low number of funding projects. Social acceptance Social impact of the BP التماسك الاجتماعيلحفاظ على بيئة المعيشةتحسين ظروف الصحةدعم النظم البيئية الطبيعية 3 Jobs created Jobs created comment: 2 engineers and 1 researcher have been recruited to conduct the LGW implementation and monitoring. Economic viability How your Best Practice is economically feasible ? Environmental sustainability Result of this assessment Not available Enviromental impact SDGsEnergy consumption commentInformation is not available but energy is used for pumping and disinfection.Validation/upscalingThe living Green Wall is a pilot implemented in a real site with possibilities to treat all produced grey water by the student house. It was adapted to the national context by applying, when possible… Read more Potentiel of exploitation/outscalingThe potential is very high considering that the LGW is adapted solution to water scarcity and adaptation to climate change as well as the transition of cities to green and sustainable ones. Read more Lessons learntSustainable NBS need a holistic approach and multidisciplinary expertise for its implementation. LGW is complex system strongly impacted by the local context. Read more RecommandationsThis Best Practice (BP) will be updated to integrate the efficiency and costs after optimisation and monitoring. Read more Highlighted KPI Technical indicators Average Treated flow rate 2.20 m3/Day COD239.8 g/Day Economical indicators Land footprint 31.82 m2/m3/day Land footprint 6745.45 m2/p.e Social indicators Job created/preserved/hab 0.01 More Informationshttps://www.enicbcmed.eu/projects/nawamedhttps://certe.rnrt.tn/ContactSend mail View inventory form responses Download Share Everywhere Print
Tertiary treatment of urban wastewater by percolation infiltration Presentation of the Best Practice Target challengeصعوبة الوصول إلى المياهرداءة جودة المياه المعالجةالتلوث البيئيArea Typologyمنطقة زراعيةMain beneficiariesالمزارعون Used technologies / toolsBiological ProcessDesinfection processConstructed WetlandSoil infiltrationOxidation processInfiltration percolation combined with phytoremediationImplementation site GABES , BECHIMANCW typeمياه الصرف الصحي البلدية (م.ص.ب)NCW USEالري الزراعي Self-Assessment TRL : Technology LevelsTRL7Description of the innovative component: The infiltration percolation tertiary treatment is a sustainable solution. the purifying performance of the system is important and this technique is based on the purifying power of the useful substances (sand and clay); the effectiveness of this technique becomes better when coupled with phytoremediation.Obstacles to implementationنقص في الإطار التنظيمي المناسبنقص في نشر قصص النجاح المتعلقة بالمياه غير التقليدية (NCW)عدم كفاية أدوات التمويل لدعم الحلول الخاصة بالمياه غير التقليدية Social acceptance Social impact of the BP لحفاظ على بيئة المعيشةتحسين ظروف الصحةدعم النظم البيئية الطبيعية Economic viability How your Best Practice is economically feasible ? Environmental sustainability Result of this assessment Enviromental impact SDGs Read more Read more Read more Read more Highlighted KPI Technical indicators Average Treated flow rate 1.50 m3/Day Economical indicators Social indicators More Informationshttps://www.enicbcmed.eu/fr/projets/medissContactSend mail View inventory form responses Download Share Everywhere Print
AHP-GIS based model development for selecting potential irrigation sites by treated wastewater in the North-East of Tunisia Presentation of the Best Practice Target challengeالمياه المخصصة للري وإنتاج الغذاء غير متوفرةاختيار أفضل لمعايير تنفيذ أنظمة المياه غير التقليديةقرارات غير مناسبة من صانعي القرارArea Typologyمنطقة ريفيةMain beneficiariesالمزارعون السلطات الإدارية Fundingتمويل الاتحاد الأوروبي Implementation site ZaghouanNCW typeمياه الصرف الصحي البلدية (م.ص.ب)NCW USEالري الزراعي Self-Assessment TRL : Technology LevelsTRL4Description of the innovative component: My Best Practice contributes to a better understanding of the environmental impacts of agricultural land irrigation using unconventional water resources, and the acquisition of perfect control over its potential risksObstacles to implementationنقص في قبول الجمهور لإعادة استخدام المياه Social acceptance Social impact of the BP دعم النظم البيئية الطبيعية Economic viability How your Best Practice is economically feasible ? Environmental sustainability Result of this assessment Enviromental impact SDGs Read more Read more Read more Read more Highlighted KPI Technical indicators Average Treated flow rate 5.00 m3/Day Economical indicators Social indicators More Informationshttps://www.google.com/maps/d/edit?mid=1nEczg415TWMJuHXoSCQG0EUUjJ_lUstu&ll=36.26440213679908%2C9.956505737459107&z=11ContactSend mail View inventory form responses Download Share Everywhere Print
ALTERAQUA - Malta Project - Phase III Presentation of the Best Practice Target challengeالضعف تجاه تغير المناخTarget of the changeالثقافة ملكية المجتمع لتحديات المياه Area Typologyمنطقة حضريةMain beneficiariesالبلديات Impact on the beneficiaries or target group of your best practice: Increased awareness in localities about rainwater harvesting, thereby promoting greener localities.Fundingتمويل خاص Implementation site VittoriosaNCW typeمياه الأمطار (م.أ) Self-Assessment Description of the innovative component: The best practice promotes a historical water saving technique (rainwater harvesting) and uses innovative approaches for engaging with stakeholders.The improvement induced by BPSustainable urban management (cleaning and greening using harvested rainwater)Obstacles to implementationنقص في الإطار التنظيمي المناسب SDGsValidation/upscalingUpscaled to other localities Read more Potentiel of exploitation/outscalingYes Read more Read more RecommandationsBest practice is easy to replicate - particularly where rainwater harvesting structures are already existing (historic structures) and rehabilitation is required Read more Highlighted KPI Technical indicators Economical indicators Average total Cost 50 euro Without consideration of the depreciation period Social indicators More Informationshttps://alteraqua.org/ContactSend mail View inventory form responses Download Share Everywhere Print
“MEDISS – Mediterranean Integrated System for water Supply”, Presentation of the Best Practice Target challengeصعوبة الوصول إلى المياهالمياه المخصصة للري وإنتاج الغذاء غير متوفرةرداءة جودة المياه المعالجةArea Typologyمنطقة زراعيةMain beneficiariesالمزارعون Fundingتمويل الاتحاد الأوروبي Implementation site ArboreaNCW typeالمياه السوداء (م.س) Self-Assessment Description of the innovative component: The experimental activity aims to verify the potential of the membrane gas extraction technique for the recovery of high-purity concentrated ammonia solution from the centrate of an anaerobic digester for the treatment of manure produced in the plain of Arborea (Italy). The plain is a very extended area devoted to intensive cattle farming and agricultural activities and represents an excellence in the Sardinian agro-livestock system. Due to the intensive agricultural practices the plain of Arborea is a Nitrate Vulnerable Zone. The chemical-physical quality of the digestate, analyzed during the experimentation, showed a high content of ammonia nitrogen present in the digestate compatible with the stripping removal technique. The principle of the technique is to apply a difference in vapour pressure for ammonia over a hydrophobic gas permeable membrane to transfer gaseous ammonia from the feed digestate solution into a stripping solution in order to produce concentrated ammonium sulphate which can be used as a fertilizer. The results showed that about 93% of ammonium content in the digestate solution could be transferred to the acid stripping solution. About 54% of the nitrogen (the rest of 11% was organic nitrogen) present in the digestate is found in ammonia form, which is the fraction more dangerous of the total nitrogen that can be eliminated using this technology.This application is the first in Italy on the livestock manure. Obstacles to implementationعدم كفاية أدوات التمويل لدعم الحلول الخاصة بالمياه غير التقليديةالتكلفة العالية للحلول التكنولوجيةObstacles to fundingThis type of funding is linked to a call for tenders and the best projects from both a technical and administrative and communication point of view can receive funding Validation/upscalingThe project was completed and continued with the installation and management of the plant for the production of ammonium sulphate by stripping the ammonia derived from the bio-digestate of livestock… Read more Potentiel of exploitation/outscalingAlternative solutions are already being studied for the pre-treatment given the type of rather coarse wastewater which gives rise to critical processing issues. An ongoing collaboration with an… Read more Read more Read more Highlighted KPI Technical indicators Economical indicators Social indicators More Informationshttps://www.enicbcmed.eu/projects/medissContactSend mail View inventory form responses Download Share Everywhere Print
Prototype ammonia stripping plant for fertilization Presentation of the Best Practice Target challengeخطر صحي مرتفعالتلوث البيئيالضعف تجاه تغير المناخArea Typologyمنطقة حضريةمنطقة ريفيةMain beneficiariesالبلديات المزارعون أصحاب المنازل السلطات الإدارية Fundingتمويل الاتحاد الأوروبي Implementation site Arborea NCW typeالمياه الرمادية (م.ر)مياه الصرف الصحي البلدية (م.ص.ب)المياه السوداء (م.س)آخر Self-Assessment Description of the innovative component: ammonia stripping in the pilot WWTPObstacles to implementationالتكلفة العالية للحلول التكنولوجية Read more Read more Read more Read more Highlighted KPI Technical indicators Economical indicators Social indicators More InformationsContactSend mail View inventory form responses Download Share Everywhere Print
Reverse osmosis (RO) desalination with innovative long-lasting membrane and PV energy Presentation of the Best Practice Target challengeصعوبة الوصول إلى المياهالمياه المخصصة للري وإنتاج الغذاء غير متوفرةالمياه غير التقليدية غير مقدرة محلياًArea Typologyمنطقة حضريةمنطقة ريفيةمنطقة زراعيةMain beneficiariesالبلديات المزارعون أصحاب المنازل Fundingتمويل الاتحاد الأوروبي Used technologies / toolsSolarPhysical processReverse OsmosisDistillationDesalination plant of brackish groundwaterImplementation site AqabaNCW typeالمياه المالحة قليلة التركيز (م.م.ق)NCW USEإعادة تغذية المياه الجوفية Self-Assessment TRL : Technology LevelsTRL8Description of the innovative component: Desalination plant of brackish groundwater, extending membrane’s lifetime with innovative treatment and using photovoltaic panels for energy supply. Obstacles to implementationنقص في نشر قصص النجاح المتعلقة بالمياه غير التقليدية (NCW)Obstacles to fundingThere is no difficulties Social acceptance Social impact of the BP التماسك الاجتماعيتحسين ظروف الصحة Economic viability How your Best Practice is economically feasible ? Environmental sustainability Result of this assessment Enviromental impact SDGsValidation/upscalingYES Read more Potentiel of exploitation/outscalingYES Read more Read more Read more Highlighted KPI Technical indicators Average Treated flow rate 768.00 m3/Day Salinity16128 g/Day Suspended solids SS0 g/Day COD0 g/Day Economical indicators Average total Cost 410.16 euro/m3 terated/day Without consideration of the depreciation period Average Total Cost 0.00 euro/p.e Average O&M cost 52.08 euro/m3 terated/day Average O&M cost 0.00 euro/p.e Land footprint 0.03 m2/m3/day Land footprint 0.00 m2/p.e Social indicators 90.00 More InformationsContactSend mail View inventory form responses Download Share Everywhere Print
Micro Wastewater Treatment System using Photocatalysis Presentation of the Best Practice Target challengeالمياه الجوفية المستغلة بشكل مفرطانخفاض استدامة نظام المعالجةأخرى (يرجى التحديد أدناه)carbon footprint of waterArea Typologyمنطقة حضريةMain beneficiariesأخرى (يرجى التحديد أدناه) ResearchFundingتمويل الاتحاد الأوروبي Used technologies / toolsOthersPhotocatalysis - Advance oxidationImplementation site MsidaNCW typeالمياه الرمادية (م.ر)NCW USEتنظيف المراحيضري الحدائق Self-Assessment TRL : Technology LevelsTRL4Description of the innovative component: Uses photocatalytic surfaces rather than powders. Reduces environmental impacts, when compared to municipal water supply + treatment. Size: micro. Obstacles to implementationنقص في الإطار التنظيمي المناسبالتكلفة العالية للحلول التكنولوجيةأخرى (يرجى التحديد أدناه)relatively low electricity and water tariffs, zero cost of carbon emission Social acceptance Social impact of the BP لحفاظ على بيئة المعيشةتحسين ظروف الصحةدعم النظم البيئية الطبيعية Economic viability How your Best Practice is economically feasible ? Environmental sustainability Result of this assessment A life cycle assessment was carried out to compare the environmental impacts of an alternative water supply for toilet flushing in households with those of water currently supplied for this purpose through the municipal potable water network. In the proposed system, greywater from showers, baths and wash-hand basins is collected and treated using heterogeneous TiO2 photocatalysis. Several scenarios comprising different design and operating conditions were studied. Using the ReCiPe (H) 2016 method, the following environmental impact categories were assessed: global warming, stratospheric ozone depletion, terrestrial acidification, freshwater eutrophication, marine eutrophication, human carcinogenic toxicity, human non-carcinogenic toxicity, terrestrial ecotoxicity, freshwater ecotoxicity, marine ecotoxicity, and water consumption. The results show that for the water reuse device to be less impactful than the municipal water system in at least 7 of the selected impact categories by more than 20 %, the product between the number of reactors and the operating time should not exceed 8 reactors·h·day−1, also taking the influence of the UVA-LED's power into account. Of the 18 alternative scenarios analyzed, 14 present a potential for reducing the environmental impacts compared to the municipal water supply system in at least 7 of the 11 evaluated environmental impact categories. For instance, the municipal supply of one cubic meter of water and its subsequent wastewater treatment in the baseline scenario produces 4.21 kg CO2 eq·m−3, whereas only 1.62 kg CO2 eq·m−3 are produced in the optimum scenario of the greywater reuse system. Moreover, the use of solar photovoltaic panels as a source of electricity for the systems is found to be an effective measure to further improve the environmental performance, mainly for the impact categories of global warming, stratospheric ozone depletion, and terrestrial acidification. The study also highlights the benefits of recycling components and materials in the end-of-life stage of the proposed system. Enviromental impact SDGsValidation/upscalingPrototype is full scale, optimisation still in progress Read more Potentiel of exploitation/outscalingYes Read more Read more Recommandationshttps://microwatts-water.com/wp-content/uploads/2021/09/MicroWatTs-full.mp4?_=1 Read more Highlighted KPI Technical indicators Average Treated flow rate 0.20 m3/Day Economical indicators Land footprint 10.00 m2/m3/day Social indicators More Informationshttps://microwatts-water.comContactSend mail View inventory form responses Download Share Everywhere Print
Decentralised nature based wastewater treatment systems for households Presentation of the Best Practice Target challengeالمياه المخصصة للري وإنتاج الغذاء غير متوفرةخطر صحي مرتفعإغلاق دورة المياه والمغذياتArea Typologyمنطقة حضريةMain beneficiariesالسكان المحليون أصحاب المنازل Fundingتمويل خاص Used technologies / toolsOthersImplementation site Thrissur, KeralaNCW typeالمياه الرمادية (م.ر)مياه الصرف الصحي البلدية (م.ص.ب)المياه السوداء (م.س)NCW USEالنظام البيئيتنسيق الحدائقري الحدائقإعادة تغذية المياه الجوفية Self-Assessment TRL : Technology LevelsTRL7Description of the innovative component: Cost effective household level and cluster level decentralised nature based wastewater treatment systems and recycling the water for gardeningObstacles to implementationنقص في نشر قصص النجاح المتعلقة بالمياه غير التقليدية (NCW) Social acceptance Social impact of the BP لحفاظ على بيئة المعيشةدعم النظم البيئية الطبيعية Economic viability How your Best Practice is economically feasible ? Environmental sustainability Result of this assessment Enviromental impact SDGs Read more Read more Read more Read more Highlighted KPI Technical indicators Average Treated flow rate 15.00 m3/Day Average Reused flow rate0 m3/Day Economical indicators Land footprint 1.50 m2/m3/day Social indicators More InformationsContactSend mail View inventory form responses Download Share Everywhere Print
Water allocation Presentation of the Best Practice Target challengeصعوبة الوصول إلى المياهخطر صحي مرتفعإغلاق دورة المياه والمغذياتتكلفة معالجة عاليةArea Typologyمنطقة زراعيةMain beneficiariesمرافق المياه السكان المحليون البلديات المزارعون أصحاب المنازل السلطات الإدارية منظمات غير حكومية (منظمات المجتمع المدني) أخرى (يرجى التحديد أدناه) Used technologies / toolsCompostingConstructed WetlandImplementation site IrbidNCW typeالمياه الرمادية (م.ر)المياه المالحة قليلة التركيز (م.م.ق)مياه الصرف الصحي البلدية (م.ص.ب)NCW USEري الحدائقالري الزراعي Self-Assessment TRL : Technology LevelsTRL3Description of the innovative component: Best agricultural practicesObstacles to implementationنقص في نشر قصص النجاح المتعلقة بالمياه غير التقليدية (NCW) Social acceptance Social impact of the BP لحفاظ على بيئة المعيشةتحسين ظروف الصحة Economic viability How your Best Practice is economically feasible ? Environmental sustainability Result of this assessment Enviromental impact تصريف المركز SDGsEnergy consumption KWh/m34.00 Read more Read more Read more Read more Highlighted KPI Technical indicators Average Treated flow rate 80.00 m3/Day Average Reused flow rate75 m3/Day Salinity120000 g/Day Suspended solids SS24000 g/Day COD8000 g/Day Economical indicators Average total Cost 1.25 euro/m3 terated/day Without consideration of the depreciation period Average Total Cost 1250.00 euro/p.e Average O&M cost 0.75 euro/m3 terated/day Average O&M cost 750.00 euro/p.e Average benefit of reuse 180 euro/Day Land footprint 125.00 m2/m3/day Land footprint 125000.00 m2/p.e Social indicators 60.0080.0040.0090.00 More InformationsContactSend mail View inventory form responses Download Share Everywhere Print
Wall2Water Presentation of the Best Practice Target challengeرداءة جودة المياه المعالجةArea Typologyمنطقة حضريةMain beneficiariesالسكان المحليون البلديات Impact on the beneficiaries of your Best Practice: educational for the students and citizens, economic and high visibility for the school and MunicipalityFundingتمويل الاتحاد الأوروبي Used technologies / toolsWall2WaterUsed technologies / toolsBiological ProcessAerobicUVNature based processLiving wallUVImplementation site Ferla - Syracuse - SicilyNCW typeالمياه الرمادية (م.ر)NCW USEتنظيف المراحيضري الحدائق Self-Assessment TRL : Technology LevelsTRL7Description of the innovative component: In recent years, scientists and engineers have focused on ways to exploit the possibility of treating greywater with natural techniques in urban contexts, with solutions that use normally unused surfaces, such as walls and roofs, thus saving space on the ground. Nonetheless, only a few examples exist outside the inner circle of university lab-scale attempts, namely, the VertECO, an indoor green wall system purifying stormwater and greywater developed in the EU funded project demEAUmed, or the Total Value Wall a building envelope designed and tested for the treatment of greywater in Continental climate conditions by a consortium of academic, NGO and private partners (some data available at https://doi.org/10.1016/j.jenvman.2021.113489). The Ferla Wall2Water contributes to this exciting new frontier of green infrastructure, offering multiple ecosystem services and aesthetic functions in urban areas by integrating a nature-based solution into a public building in a Mediterranean climate location.Obstacles to implementationنقص في نشر قصص النجاح المتعلقة بالمياه غير التقليدية (NCW)عدم كفاية أدوات التمويل لدعم الحلول الخاصة بالمياه غير التقليديةObstacles to fundingno difficulties Social acceptance Social impact of the BP التماسك الاجتماعيلحفاظ على بيئة المعيشةتحسين ظروف الصحةدعم النظم البيئية الطبيعية Economic viability How your Best Practice is economically feasible ? exploting the economy to the quantity of water not pumped from the ground (high energy cost taking in account that the town is on the montain) and the reduced quantity of wastewater to treat Environmental sustainability Result of this assessment Enviromental impact SDGsEnergy consumption commentNAValidation/upscalingongoing Read more Potentiel of exploitation/outscalingyes, there is Read more Lessons learntsolution can be efficent and nice contemporary! NBS, water reuse and Urban regeneration has the key for improve not only the water management system but also the behaviour of people Read more Recommandationsact and communicate - communicate and act Read more Highlighted KPI Technical indicators Average Treated flow rate 1.20 m3/Day Economical indicators Average total Cost 58333.33 euro/m3 terated/day Without consideration of the depreciation period Average O&M cost 2500.00 euro/m3 terated/day Land footprint 25.00 m2/m3/day Social indicators More Informationshttps://www.pareteverdeferla.it/ContactSend mail View inventory form responses Download Share Everywhere Print
Project ERANETMED-DEWESUSWAMA Presentation of the Best Practice Target challengeالتلوث البيئيانخفاض استدامة نظام المعالجةظروف التشغيل غير محسّنةنظام إدارة ضعيفالضعف تجاه تغير المناخArea Typologyنظام بيئي طبيعيMain beneficiariesالسكان المحليون Fundingتمويل الاتحاد الأوروبيتمويل وطني Used technologies / toolsCWsConstructed WetlandsImplementation site AlgunaNCW typeالمياه المالحة قليلة التركيز (م.م.ق)مياه الصرف الصحي البلدية (م.ص.ب)المياه السوداء (م.س)NCW USEالري الزراعيإعادة التدوير Self-Assessment TRL : Technology LevelsTRL7Description of the innovative component: CWs are engineered systems designed to utilize natural processes within the ecosystem vegetation-soilmicroorganisms to achieve polluted water or WW treatment. A combination of physic-chemical processes and intensive biological activity in the soil, roots and plants transforms pollutants to non-hazardous byproducts or essential nutrients.Obstacles to implementationعدم كفاية أدوات التمويل لدعم الحلول الخاصة بالمياه غير التقليديةنقص في قبول الجمهور لإعادة استخدام المياه Social acceptance Social impact of the BP لحفاظ على بيئة المعيشةدعم النظم البيئية الطبيعية Economic viability How your Best Practice is economically feasible ? Environmental sustainability Result of this assessment Enviromental impact SDGsValidation/upscalingin germany Read more Potentiel of exploitation/outscalingYes Read more Read more Read more Highlighted KPI Technical indicators Average Treated flow rate 150.00 m3/Day Average Reused flow rate100 m3/Day Economical indicators Social indicators More InformationsContactSend mail View inventory form responses Download Share Everywhere Print
APOC: an eco-innovative wastewater treatment process scheme for sustainable treatment and reuse of municipal wastewater in small and medium size communities in the Mediterranean region Presentation of the Best Practice Target challengeالمياه المخصصة للري وإنتاج الغذاء غير متوفرةرداءة جودة المياه المعالجةخطر صحي مرتفعالتلوث البيئيالمياه الجوفية المستغلة بشكل مفرطالمياه غير التقليدية غير مقدرة محلياًالتوجه نحو صفر تصريف على المستوى المحليتكلفة معالجة عاليةاختيار أفضل لمعايير تنفيذ أنظمة المياه غير التقليديةقرارات غير مناسبة من صانعي القرارمقاومة استخدام المياه غير التقليدية المعالجةArea Typologyمنطقة حضريةMain beneficiariesمرافق المياه البلديات المزارعون السلطات الإدارية Impact on the beneficiaries of your Best Practice: The beneficiaries include the staff of public and private entities, sewerage companies, engineers, constructors, operators of wastewater treatment plants (WWTPs), the farmers and the general public/local community. For the latter, the APOC system contributes to the provision of an additional water supply that would otherwise be lost, thus preventing the high cost of importing freshwater and conveying it over a long distance. In areas where the water demand is not met: Additional revenue from the sale of reclaimed water and savings in the form of avoided or delayed costs of developing new fresh water sources and less treatment of surface water abstraction. For farmers, the APOC system provides an alternative water source for irrigation, that is readily available all year, as well as additional source of fertilizer (solid digestate) and nutrients, lessening the need to apply synthetic fertilizers. A decentralized APOC reuse system could reduce the impact of combined sewer overflows emissions and recharge local rivers to maintain the ecology and enable aquifer recharge. Improvement in public health, by protecting downstream water supplies from contaminations (and so, indirectly decreasing the costs of treatment for those downstream communities.Fundingتمويل الاتحاد الأوروبي Used technologies / tools(i) Upflow Anaerobic Sludge Blanket (UASB)(ii) Anaerobic Baffled Reactor (ABR)(iii) Anaerobic Sequencing Batch Reactor (ASBR)(iv) Anaerobic Fluidized Bed Reactor (AFBR)(v) the Anaerobic Filter (AF)Anaerobic Fixed Film Reactor (AFFR) CWs: Constructed Wetlandthe cost-effective treatment of urban wastewater (with the acronym APOC) comprises anaerobic digestion (AD)constructed wetlands (CWs) a novel solar Raceway Pond Reactor (RPR)for final disinfection and removal of organic micropollutants(e.g. residual pharmaceuticals and degradation by products, etc.).Implementation site ThessalonikiNCW typeمياه الصرف الصحي البلدية (م.ص.ب)NCW USEالنظام البيئيتنظيف المراحيضري الحدائقالري الزراعيمنطقة ترفيهية Self-Assessment TRL : Technology LevelsTRL7Description of the innovative component: In comparison to conventional domestic wastewater treatment processes and other tertiary water reclamation methods APOC is characterized by distinct attributes in relation to cost, social acceptability, simplicity of design, construction, operation and maintenance, hydrogeological conditions and local availability of materials and skills. These attributes are related with the innovative and effective combination of processes which are less intensive, consume less energy, based on natural processes and result in products of significant added value (biogas, solid fertilizer and clean water for reuse).Obstacles to implementationنقص في نشر قصص النجاح المتعلقة بالمياه غير التقليدية (NCW)عدم كفاية أدوات التمويل لدعم الحلول الخاصة بالمياه غير التقليديةنقص في قبول الجمهور لإعادة استخدام المياهأخرى (يرجى التحديد أدناه)Lack of funding for the continuous operation of BPs (at demo scale) after the life time of the project The lack of interest by the involved stakeholders/end users (no regulations enforcement concerning the need to treat and reuse municipal wastewater).Obstacles to fundingThe funding is the result of a competitive process like all RTD projects funded by the EU. The AQUACYCLE partnership submitted a project proposal for standard projects under the 2014-2020 ENI CBC MED programme on the thematic “Water Efficiency”. In case of failure, the development of APOC technology would have delayed, due to lack of funding. Social acceptance Social impact of the BP لحفاظ على بيئة المعيشةدعم النظم البيئية الطبيعية Jobs created comment: Within AQUACYCLE project, in the context of which the APOC system has been developed and demonstrated, more than 40 jobs have been created by the collaborating partners in five countries (Greece, Malta, Spain, Tunisia, Lebanon). Economic viability How your Best Practice is economically feasible ? The BP is a self-sustained system since the connection to the grid is not necessary. The necessary energy required is produced by Renewable Energy Sources, including solar (via photovoltaic panels) and biogas, generated by the anaerobic digestion of the organic content of the municipal wastewater. APOC can be implemented using local skills and know-how to provide context-specific sanitation services and get optimum efficiency of the system. Moreover, it can provide a solid byproduct (anaerobic solid digestate) that can be used for land fertilization while APOC treated effluent can be used for urban, industrial, agricultural uses and groundwater recharge. Environmental sustainability Result of this assessment A cost benefit analysis will be performed during the next year that will identify the return on investment taking into account the capital, variable (operational), and fixed costs, as well as the environmental benefits. Enviromental impact SDGsValidation/upscalingAPOC technology is currently validated at demonstration level in operational environment (TRL7) (APOC demo plant of 5 m3/d treatment capacity in Blanca Wastewater Treatment Plant, Murcia, Spain),… Read more Potentiel of exploitation/outscalingYes, the capitalization plan of AQUACYCLE project coupled with the many outreach activities (participation in international fora/exhibitions, networking with similar projects and organizations) aim… Read more Lessons learntAPOC can be designed for a single objective, which then would be just to treat water, or with multiple objectives, whereby treating water is always included. Engineers should seek however, multi-… Read more Read more Highlighted KPI Technical indicators Average Treated flow rate 5.00 m3/Day Salinity1750 g/Day Suspended solids SS1750 g/Day COD3575 g/Day Economical indicators Average total Cost 0.00 euro/m3 terated/day Without consideration of the depreciation period Average Total Cost 0.00 euro/p.e Land footprint 50.00 m2/m3/day Land footprint 1750.00 m2/p.e Social indicators More Informationshttps://etraining-aquacycle.eu/ContactSend mail View inventory form responses Download Share Everywhere Print
Sub-surface irrigation system (subsurface irrigation uses a network of polyethylene pipes located just under the ground's surface to apply disinfected effluent in the root zone of plants, ...) Presentation of the Best Practice Target challengeالمياه المخصصة للري وإنتاج الغذاء غير متوفرةرداءة جودة المياه المعالجةالتلوث البيئيArea Typologyمنطقة زراعيةMain beneficiariesمرافق المياه المزارعون السلطات الإدارية Impact on the beneficiaries of your Best Practice: The best safe use of TWW in Agriculture- and High roductionFundingتمويل الاتحاد الأوروبي Used technologies / toolsSSIlateral pipe installation machineImplementation site RamthaNCW typeمياه الصرف الصحي البلدية (م.ص.ب)NCW USEتنسيق الحدائقالري الزراعيإعادة التدوير Self-Assessment TRL : Technology LevelsTRL3Description of the innovative component: yes due to COVID19 movement restrictions we designed and developed the installation machine from local materials by our self with cheaper cost and less time consuming than importing from outside the countryObstacles to implementationعدم كفاية أدوات التمويل لدعم الحلول الخاصة بالمياه غير التقليديةالتكلفة العالية للحلول التكنولوجيةObstacles to fundinghigh competition to get project and funding's Social acceptance Social impact of the BP تحسين ظروف الصحةدعم النظم البيئية الطبيعية Economic viability How your Best Practice is economically feasible ? Environmental sustainability Result of this assessment Enviromental impact SDGsValidation/upscalingYes it has been validated in Ramtha research station for non conventional water studies and upscaling is in progress through MENWARA project Read more Potentiel of exploitation/outscalingyes because we have water scarcity and we have to use the treated wastewater efficiently in safe way for the end users and the environment. Read more Read more Read more Highlighted KPI Technical indicators Average Treated flow rate 62.50 m3/Day Average Reused flow rate1000 m3/Day Salinity109375 g/Day Suspended solids SS3125 g/Day COD6250 g/Day Economical indicators Land footprint 720.00 m2/m3/day Land footprint 312480.00 m2/p.e Social indicators 90.0090.00 More InformationsContactSend mail View inventory form responses Download Share Everywhere Print
HYDRO 1 + HYDRO 2 (HYDROUSA project - H2020, www.hydrousa.org) Presentation of the Best Practice Target challengeالمياه المخصصة للري وإنتاج الغذاء غير متوفرةالتلوث البيئيالمياه غير التقليدية غير مقدرة محلياًتكلفة معالجة عاليةانخفاض استدامة نظام المعالجةArea Typologyمنطقة ريفيةMain beneficiariesمرافق المياه السكان المحليون المزارعون Impact on the beneficiaries of your Best Practice: Environmental (low pollution, biodiversity); Social (fertigation, brand new jobs)Fundingتمويل الاتحاد الأوروبي Used technologies / toolsHYDRO 1 + HYDRO 2HYDRO 1. Upflow sludge blanket reactor (UASB); vertical subsurface flow saturated wetlands (VF SAT)vertical subsurface flow unsaturated wetlands (VF UNSAT)Sludge drying reed beds (SDRB)ComposterUV disinfection.HYDRO 2: AgroforestryImplementation site Antissa, Lesvos IslandNCW typeمياه الصرف الصحي البلدية (م.ص.ب)NCW USEالنظام البيئيالري الزراعيإعادة التدوير Self-Assessment TRL : Technology LevelsTRL8Description of the innovative component: The main innovation is the combination of several technologies (e.g. UASB, wetlands, disinfection) to close water-food-energy loops at small decentralised scale.Obstacles to implementationنقص في نشر قصص النجاح المتعلقة بالمياه غير التقليدية (NCW)عدم كفاية أدوات التمويل لدعم الحلول الخاصة بالمياه غير التقليديةObstacles to fundingLow success rate of Horizon 2020 funding scheme Social acceptance Social impact of the BP لحفاظ على بيئة المعيشةدعم النظم البيئية الطبيعية Jobs created comment: To be requested to the WP8 leader (Semide; Eric Mino e.mino@semide.org) Economic viability How your Best Practice is economically feasible ? Cheaper than convention WWTP at decentralised scale Environmental sustainability Result of this assessment LCA analysis was developed in WP6 (WP Leader: Brunel university; Alban Echchelh; Alban.Echchelh@brunel.ac.uk) Enviromental impact SDGsValidation/upscalingThe Best Practice has been validating by the detailed monitoring campaign done during the project. Moreover, the HYDRO 1 (without UV disinfection) has passed the Quick Scan phase for ETV (European… Read more Potentiel of exploitation/outscalingThe potential of exploitation/outscale is under investigation within the HYDROUSA project in two ways. Firstly, the transferability potentiality of the solution are under investigation within WP7 (WP… Read more Lessons learntWastewater from waste to resource through NBS Read more RecommandationsContact the project coordinator Simos Malamis (NTUA - smalamis@central.ntua.gr) ) Read more Highlighted KPI Technical indicators Average Treated flow rate 22.50 m3/Day Average Reused flow rate0 m3/Day Suspended solids SS5625 g/Day COD12937.5 g/Day Economical indicators Average total Cost 0.00 euro/m3 terated/day Without consideration of the depreciation period Average Total Cost 0.00 euro/p.e Social indicators More Informationshttps://www.hydrousa.org/hydro1/https://www.hydrousa.org/hydro2/ContactSend mail View inventory form responses Download Share Everywhere Print
Forested Infiltration Area (FIA system) Presentation of the Best Practice Target challengeالتلوث البيئيالمياه الجوفية المستغلة بشكل مفرطاستراتيجية غير ملائمةArea Typologyمنطقة ريفيةمنطقة زراعية أخرى (يرجى التحديد أدناه)Nitrate Vulnerable ZoneMain beneficiariesمرافق المياه السكان المحليون البلديات المزارعون أصحاب المنازل السلطات الإدارية Impact on the beneficiaries of your Best Practice: The BP is one of the mitigation option to reduce nitrate contamination in NVZ. In long term it can contribute to solving the groundwater pollution issue, which currently entails (due to the application of the Nitrate Directive) a series of constraints on the economic activity of farmers (eg. increase in production costs).Fundingتمويل الاتحاد الأوروبي Used technologies / tools_For the design of the passive treatment system, batch and flow-through experiments have been carriedImplementation site Arborea/SardiniaNCW typeمياه صرف الري (م.ص.ر)NCW USEإعادة تغذية المياه الجوفية Self-Assessment TRL : Technology LevelsTRL4Description of the innovative component: Compared to the FIA systems which have already been implemented in Veneto, the FIA under implementation in Arborea includes a technical innovation represented by the Passive Treatment System to be installed within each recharge trench to improve the recharge water quality and reduce the clogging processes at the infiltrating surface.Obstacles to implementationنقص في الإطار التنظيمي المناسبأخرى (يرجى التحديد أدناه)As the BP is innovative in Sardinia, it didn't fit in a clear regulatory framework. Many local authorities were engaged to provide their authorisation to proceed.Obstacles to fundingDelays in the implementation of the BP (unclear regional legislation, which made the attribution of competences complicated and required the intervention of numerous local authorities called to provide their authorization). Social acceptance Social impact of the BP لحفاظ على بيئة المعيشةدعم النظم البيئية الطبيعية Economic viability How your Best Practice is economically feasible ? Use of low cost materials that can be easily found in the local market. Environmental sustainability Result of this assessment Enviromental impact SDGsValidation/upscalingNo Read more Potentiel of exploitation/outscalingYes, in similar hydrogeological context. Read more Lessons learntIt is possible to adopt low-cost nature based solution to have a positive impact on the environment. Read more RecommandationsBefore designing such a kind of system it is necessary to have a complete knowledge framework in terms of geology, hydrogeology and hydrogeochemistry in order to understand if the area meets the… Read more Highlighted KPI Technical indicators Average Treated flow rate 1917.00 m3/Day Salinity2331072 g/Day COD57510 g/Day Economical indicators Average total Cost 57.38 euro/m3 terated/day Without consideration of the depreciation period Land footprint 2.61 m2/m3/day Social indicators More Informationshttp://www.menawara.euContactSend mail View inventory form responses Download Share Everywhere Print
Greywater Treatment Hammam El Attaouia Presentation of the Best Practice Target challengeالمياه الجوفية المستغلة بشكل مفرطالتوجه نحو صفر تصريف على المستوى المحليأخرى (يرجى التحديد أدناه)water for recreational green areas is not availableArea Typologyمنطقة حضريةMain beneficiariesالسكان المحليون البلديات أخرى (يرجى التحديد أدناه) water resources and energy resources users - i.e. all peopleImpact on the beneficiaries of your Best Practice: 2 ha of parks and green recreation areas for a city of 10.000 inhabitants in an otherwise dry area.Fundingتمويل الاتحاد الأوروبيتمويل خاص Used technologies / toolsCWseparation of grey and black water, a constructed wetland for greywater treatment in an urban areaImplementation site El AttaouiaNCW typeالمياه الرمادية (م.ر)NCW USEتنسيق الحدائقمنطقة ترفيهية Self-Assessment TRL : Technology LevelsTRL8Description of the innovative component: The use of wetlands to treat greywater onsite in the middle of an urban areaObstacles to implementationنقص في نشر قصص النجاح المتعلقة بالمياه غير التقليدية (NCW)أخرى (يرجى التحديد أدناه)Lack of training of professionals to take up best practices in their portfolioObstacles to fundingNone Social acceptance Social impact of the BP لحفاظ على بيئة المعيشةتحسين ظروف الصحة Economic viability How your Best Practice is economically feasible ? It brings a net benefit compared to buying freshwater for irrigation Environmental sustainability Result of this assessment The water is reclaimed and would otherwise not be available at this site, the plant is economically highly feasible. Enviromental impact SDGsValidation/upscalingNo Read more Potentiel of exploitation/outscalingThere are 5000 hammams in Morocco, which could all have a similar greywater treatment. It could be implemented at all hammams wherever these are operated. Read more Lessons learntThe pilot system worked satisfactorily, it provided NC water for green areas that would not have been avialable otherwise, but it was terminated for political/personal reasons 4 years after its start… Read more RecommandationsTo the water reclamation at the hammam a solar heater was added, that provided half of the required energy for water heating. Such systems could be implemented at all hammams throughout the region,… Read more Highlighted KPI Technical indicators Average Treated flow rate 60.00 m3/Day Average Reused flow rate100 m3/Day Salinity27000 g/Day Suspended solids SS1020 g/Day COD7200 g/Day Economical indicators Average total Cost 1.63 euro/m3 terated/day Without consideration of the depreciation period Average O&M cost 0.13 euro/m3 terated/day Average benefit of reuse 51 euro/Day Land footprint 6.67 m2/m3/day Social indicators 80.0072.000.0066.00 More Informationshttp://www.constructedwetlands.eu/Zer0-M/index.htmContactSend mail View inventory form responses Download Share Everywhere Print
Environmental pollution Presentation of the Best Practice Target challengeالمياه المخصصة للري وإنتاج الغذاء غير متوفرةرداءة جودة المياه المعالجةخطر صحي مرتفعالتلوث البيئيالمياه غير التقليدية غير مقدرة محلياًانخفاض استدامة نظام المعالجةظروف التشغيل غير محسّنةقرارات غير مناسبة من صانعي القراراستراتيجية غير ملائمةمقاومة استخدام المياه غير التقليدية المعالجةArea Typologyمنطقة حضريةمنطقة زراعيةMain beneficiariesالسكان المحليون المزارعون Fundingرسوم المستخدمين Used technologies / toolstankfilterdisinfectionImplementation site Kairouan, Sousse ,MahdiaNCW typeالمياه الرمادية (م.ر)مياه الصرف الصحي البلدية (م.ص.ب)المياه السوداء (م.س)NCW USEتنظيف المراحيض Self-Assessment TRL : Technology LevelsTRL7Description of the innovative component: Adaptation of simple and effective treatment processes for reuse.Obstacles to implementationنقص في الإطار التنظيمي المناسبعدم كفاية أدوات التمويل لدعم الحلول الخاصة بالمياه غير التقليديةنقص في قبول الجمهور لإعادة استخدام المياه Social acceptance Social impact of the BP تحسين ظروف الصحة Economic viability How your Best Practice is economically feasible ? Environmental sustainability Result of this assessment Enviromental impact SDGs Read more Potentiel of exploitation/outscalingYes Read more Read more Read more Highlighted KPI Technical indicators Average Treated flow rate 2.00 m3/Day Average Reused flow rate100 m3/Day Economical indicators Average total Cost 4173.36 euro/m3 terated/day Without consideration of the depreciation period Land footprint 1.50 m2/m3/day Social indicators 95.00 More InformationsContactSend mail View inventory form responses Download Share Everywhere Print
A new approach for local wastewater management sanitation case study of rural school (Chorfech 24) Presentation of the Best Practice Target challengeصعوبة الوصول إلى المياهArea Typologyمنطقة ريفيةMain beneficiariesأخرى (يرجى التحديد أدناه) primary schoolFundingتمويل الاتحاد الأوروبي Used technologies / toolsCW: Constructed wetland• Implementation of several types of equipment to save water;• Set up waterless on place of a conventional urinal• Implementation of push-button taps for flushing toilet• Equipment of others taps by push-button (drinking and washing basin)• Equipment of others taps by push-button (drinking and washing basin)• Equipment of others taps by push-button (drinking and washing basin)• Set up a local system of sanitationImplementation site TunisiaNCW typeمياه الأمطار (م.أ)المياه الرمادية (م.ر)المياه السوداء (م.س)NCW USEتنظيف المراحيضري الحدائق Self-Assessment TRL : Technology LevelsTRL7Description of the innovative component: The results show the feasibility of the system composed of a septic tank and horizontal subsurface constructed wetland. Regarding the high removal rates obtained, the final quality of treated effluent could be sufficient for garden irrigation. Rainwater could provide an alternative as well as the installation of water-saving devices. The pilot activity will also build and reinforce the capacity building and expertise related to the implemented techniques under real conditions. This solution can be recommended for wide application in rural schools in Tunisia and could be replicated in similar areas and countries in order to save water and efficiently treat domestic wastewater avoiding direct discharge of untreated wastewater.Obstacles to implementationنقص في قبول الجمهور لإعادة استخدام المياه Social acceptance Social impact of the BP لحفاظ على بيئة المعيشةتحسين ظروف الصحة Economic viability How your Best Practice is economically feasible ? Environmental sustainability Result of this assessment Enviromental impact SDGs Read more Read more Read more Read more Highlighted KPI Technical indicators Average Treated flow rate 1.60 m3/Day Average Reused flow rate100 m3/Day Salinity4.848 g/Day Suspended solids SS1825.6 g/Day COD1844.8 g/Day Economical indicators Land footprint 125.00 m2/m3/day Social indicators 96.4086.7093.00 More Informationshttps://doi.org/10.2166/wpt.2015.054ContactSend mail View inventory form responses Download Share Everywhere Print
Decentralized Wastewater Management Presentation of the Best Practice Target challengeقرارات غير مناسبة من صانعي القرارسلوك المستخدم غير ملائمأخرى (يرجى التحديد أدناه)Low Commitment by beneficiaries, lack of governance by the local councilArea Typologyمنطقة ريفيةمنطقة زراعيةMain beneficiariesالسكان المحليون البلديات المزارعون أصحاب المنازل Impact on the beneficiaries of your Best Practice: increase environmental and economical conditions as well as health conditions Fundingتمويل خاص Used technologies / toolsGWWTPAerobic and Anaerobic treatment Implementation site Jordan ValleyNCW typeالمياه الرمادية (م.ر)مياه صرف الري (م.ص.ر)المياه السوداء (م.س)NCW USEالري الزراعي Self-Assessment TRL : Technology LevelsTRL8Description of the innovative component: _________Obstacles to implementationالتكلفة العالية للحلول التكنولوجية Social acceptance Social impact of the BP التماسك الاجتماعيلحفاظ على بيئة المعيشةتحسين ظروف الصحةدعم النظم البيئية الطبيعية Jobs created comment: increase environmental and economical conditions as well as health conditions Economic viability How your Best Practice is economically feasible ? Environmental sustainability Result of this assessment very good technical results, we shall focus more on governance and environmental public awareness campaign Enviromental impact SDGsValidation/upscalingYes Read more Potentiel of exploitation/outscalingYes Read more Lessons learntfocus on governance since early stage of action Read more RecommandationsNO Read more Highlighted KPI Technical indicators Average Treated flow rate 35.00 m3/Day Average Reused flow rate100 m3/Day Suspended solids SS2030 g/Day COD17780 g/Day Economical indicators Average total Cost 142.86 euro/m3 terated/day Without consideration of the depreciation period Average O&M cost 7.77 euro/m3 terated/day Average benefit of reuse 8.75 euro/Day Land footprint 1.01 m2/m3/day Social indicators 75.0070.0090.00 More Informationshttps://pweg-my.sharepoint.com/:p:/g/personal/monther_palweg_org/EVM2Fr1Q8adDi5sWLRx6zNoB7xY-BYVOSNWyEck7Nb64Ag?e=48a6iyContactSend mail View inventory form responses Download Share Everywhere Print